|  |  |  |  |
| --- | --- | --- | --- |
| **Petition #:** | 2017-001 | **Review Number:** | 1 |
| **Petition Reviewer:** | Alan H. Gaines | **Date Reviewed:** | October 27, 2016 |
| **Phone Number:** | 704-391-4689 | **Email Address:** | againes@ci.charlotte.nc.us |

|  |
| --- |
| **Comments:** |
| In relation to the parcel under review, Charlotte Water has water system availability for the rezoning boundary via existing 8-inch water distribution main located along Spector Drive.Charlotte Water currently does not have sewer system availability for the parcel under review. The closest available sewer main is approximately 400 feet east of parcel 037-192-14 at the intersection of Statesville Road and Spector Drive. The applicant should contact Charlotte Water’s New Services at (704) 432-5801 for more information regarding accessibility to sewer system connections.  |

This sheet indicates the findings of a cursory review of Utilities System Information for the presence or absence of public water or wastewater infrastructure only. It does not imply available capacity in lines, pump stations, or treatment facilities.